Topic 20 CHROMATOGRAPHY AND SPECTROSCOPY Chromatography Carbon-13 nmr Spectroscopy Proton nmr Spectroscopy Combined Spectral Analysis

INTRODUCTION TO STRUCTURE DETERMINATION

There are so many organic compounds in existence that it can be difficult to establish exactly what compounds, or what combinations of compounds, are present in a given sample. Chemical tests can be used to distinguish between different functional groups, and melting point and boiling point data can provide some further information as to the identity and purity of a compound, but they can generally only confirm suspected structures and can not usually be used to identify new compounds. Chemical techniques also require fairly large quantities of sample and are not always effective at distinguishing between similar compounds.

Chemists have developed a number of other, more precise, analytical techniques to determine the exact structure of organic compounds. These include chromatography, mass spectrometry, infra-red spectroscopy and nuclear magnetic resonance (nmr) spectroscopy. This topic is concerned with chromatography and nmr spectroscopy.

CHROMATOGRAPHY

Chromatography is a technique by which different compounds in a mixture can be separated and then analysed.

- Principles of separation

Chromatography always involves moving a solvent (called the mobile phase) along or through a solid or viscous liquid (called the stationery phase). Different components of the mixture have different tendencies to adsorb onto (or dissolve in) the stationery phase, and hence move through the apparatus at different speeds relative to the mobile phase. This is how the components are separated.

There are three main types of chromatography:

-	thin-layer chromatography

In thin-layer chromatography a liquid solvent is allowed to flow up a piece of TLC plate coated with a solid. The mixture is placed in a small area on the plate and allowed to flow up the plate with the solvent. The distance travelled by a component compared to the solvent is called the retention factor and can be used to identify the component.

-	column chromatography

In column chromatography a column is packed with a solid and a solvent moves 	down the column. The component is added to the solvent at the top of the column.	The time it takes for a component to exit the base of the column is called the 	retention time and can be used to identify the component

-	gas chromatography

In gas chromatography a gaseous mixture is allowed to flow, under pressure and at high temperature, through a column lined with a solid or a solid coated with a liquid. Volatile liquids can also be vaporised and then allowed to flow through the column. The time it takes for a component to exit the column is called the retention time and can be used to identify the component.

The separation of the components depends on the balance between its solubility in the mobile phase and its retention by the stationary phase. A component which is highly soluble in the mobile phase and not well retained by the stationery phase will have a high retention factor and a small retention time. A component which is not very soluble in the mobile phase and well retained by the stationery phase will have a low retention factor and a high retention time.

The retention factor can be calculated from the chromatogram produced on the TLC plate after the experiment. It is defined as:	distance moved by component

distance moved by solvent front

(http://people.smu.edu/ahumason/technotes/calculating%20retention%20factors.pdf)

The retention factor is always a number between 0 and 1.

- Principles of identification

Retention factors (in TLC) and retention times (in CC and GC) can be used to identify the different components in a mixture, simply by comparing them to a database of known values for that particular apparatus.

Thin-layer chromatography is often used for separating and identifying mixtures of amino acids produced from the hydrolysis of proteins. The amino acids must be located on a chromatogram using developing agents such as ninhydrin or ultraviolet light and can then be identified by their Rf values.

Retention factors and retention times cannot be used to identify compounds if there is already a value for that compound on the database.

In gas chromatography it is common to link the apparatus to a mass spectrometer (a technique known as GCMS) and obtain a mass spectrum of each component. Mass spectra are unique to each molecule and can also be used to identify unkwown compounds. So gas chromatography separates the components and mass spectroscopy identifies them.

N.M.R SPECTROSCOPY

1)	Introduction

Some nuclei have magnetic properties. If these nuclei are subjected to a strong magnetic field, they can either align themselves in the same direction as the magnetic field (a low-energy state) or in the opposite direction (a high-energy state). When these nuclei are then subjected to radio waves with a range of frequencies, each nucleus can absorb the frequency which corresponds to the difference in energy between its low-energy state and its high-energy state and switch from one to the other. The absorption can be detected and converted into a spectrum. The frequency of the radiation absorbed by the nuclei varies depending on the type of nucleus and the arrangement of electrons around that nucleus, and can thus be used to provide important structural information about the molecule. This technique for structure determination is known as nuclear magnetic resonance (nmr) spectroscopy.

There are a number of different types of nmr spectroscopy, depending on the type of nucleus being investigated. Two techniques are required at A-level:

- proton nmr spectroscopy investigates the absorption of radiation by nuclei of hydrogen atoms (1H) and is thus a technique for obtaining information about the number and arrangement of hydrogen atoms in a molecule

- carbon-13 nmr spectroscopy investigates the absorption of radiation by nuclei of carbon-13 atoms (13C) and is thus a technique for obtaining information about the number and arrangement of carbon atoms in a molecule

2) 	Carbon-13 nmr spectroscopy

Carbon-13 nmr spectroscopy works in a similar way to proton nmr spectroscopy, but it is much simpler:

- Identical carbon atoms all absorb radiation at the same frequency and so contribute to the same peak. The number of different peaks, therefore, tells you the number of different environments of carbon atoms in the molecule.

- The frequency of the radiation absorbed depends on the environment of the hydrogen atom and gives information about the position of the carbon in the molecule relative to other carbon atoms and functional groups. The actual frequency of the absorption is difficult to measure; instead the frequency is measured relative to a standard. What is measured is the difference between the frequency absorbed by the sample atoms and the frequency absorbed by the standard, expressed as a fraction of the frequency absorbed by the standard. This fraction is known as the chemical shift and is given the symbol δ.

δ = f(sample) – f(standard)

f(standard)

The value of δ is generally very small; typically 20-200 x 10-6. It is therefore expressed in parts per million – ie 20 x 10-6 is equivalent to 20 ppm. The chemical shift is generally greater if the carbon atoms are closer to electronegative atoms, but is also relatively high for carbon atoms close to alkene and arene groups. Hydrogen atoms with a large chemical shift are said to be deshielded, and hydrogen atoms with a low chemical shift are said to be shielded. The peak resulting from the standard always has (by definition) a chemical shift of zero.

Carbon-13 nmr spectra provide information about the number of carbon atoms in the molecule and the chemical environment around each carbon atom.

A typical carbon-13 nmr spectrum looks like this:

From this spectrum, it is clear that there are eight peaks. This means that there are eight different types of carbon atom in the molecule, each with a different chemical shift.

3)	proton nmr spectroscopy

Proton nmr spectra work in the same way as carbon-13 nmr spectra, in that the number of peaks indicate the number of hydrogen environments in the molecule and the chemical shift of each peak provides information about each hydrogen environment.

In addition, proton nmr spectra provide two additional pieces of information not available from carbon-13 nmr spectra:

- The area under each peak in a proton nmr spectrum is related to the intensity of the absorption and gives information about the number of hydrogen atoms of that type in the molecule. The relative intensity of the peaks is known as the integration factor and is generally given as a simplest whole number ratio (as it is not always easy to see from the spectrum)

- The peaks are often not single peaks; they are split into a number of peaks very close together. The way in which each peak is split depends on the total number of hydrogen atoms on adjacent atoms. The level of splitting of the peaks is given by (n+1), where n = number of hydrogen atoms on adjacent atoms. A hydrogen atom with no hydrogen atoms on adjacent carbon atoms will have no splitting and will give a single peak known as a singlet. If n = 1 the peak will be split once and will thus appear as a doublet. The names of the split peaks are as follows:

|  | Value of n | Type of peak |  |
| --- | --- | --- | --- |
|  | 0 | Singlet |  |
|  | 1 | Doublet |  |
|  | 2 | Triplet |  |
|  | 3 | Quartet |  |

The splitting of the peaks by adjacent hydrogen atoms in this way is known as coupling. If a hydrogen atom is involved in hydrogen bonding, its peak will never be split (it will always be a singlet) and it will not contribute to the splitting of any other peaks.

A typical proton nmr spectrum looks like this:

From this spectrum, it is clear that there are four peaks. The chemical shift can be read from the horizontal axis, and the integration factor and splitting can be deduced by looking at the size and shape of the peaks (computer techniques are usually required to work out the integration factor). The four peaks in the above spectra could be described as follows:

| Chemical shift/ppm | Splitting | Integration Factor |
| --- | --- | --- |
| 0.9 | triplet | 3 |
| 1.6 | Multiplet | 2 |
| 2.3 | Singlet | 1 |
| 3.7 | Triplet | 2 |

The chemical shift, splitting and integration factor can all be used to deduce important information about the structure of the molecule in the sample.

Note that the integration factor (the area under peak) is difficult to read directly. For this reason, the integration factor is indicated above the peak. Alternatively, pre-integrated nmr spectra are often used. The line above the spectrum shifts vertically when it passes each peak. The magnitude of the vertical shift is proportional to the integration factor of each peak. One example, showing both the integration line and the integration factor is shown below:

The shifts at each peak are in the ratio 1:2:3, and this ratio is the integration factor. You will need to deduce the integration factor of each peak using only the integration line.

4)	Preparing samples for nmr analysis

Before a spectrum can be analysed, it is necessary to produce a spectrum and preparing a sample for proton nmr analysis requires some consideration:

i)	Choosing a suitable solvent

It is necessary to dissolve the sample in a solvent before it can be analysed. The problem with most solvents is that they themselves contain hydrogen atoms which absorb radiation, interfering with the spectrum produced by the sample. It is therefore necessary to use a solvent which contains no hydrogen atoms. The usual choices are CCl4 and CDCl3. D is the symbol for deuterium; this is an isotope of hydrogen containing one neutron in its nucleus. It has no magnetic properties and does not interfere with a proton nmr spectrum.

ii)	Choosing a standard

In addition to the solvent, a standard (or reference) molecule must be added to calibrate the spectrum. The chemical shift is then measured relative to this standard as described above. The standard normally used is tetramethylsilane (T.M.S.) which has the following structure:

This substance has a number of advantages as a standard:

- It produces a single, singlet peak which is very intense (there are 12 H atoms, all identical) which makes the peak easy to identify.

- The H atoms are highly shielded (as the Si is an electropositive atom, releasing electron density onto the H atoms) so the peak is generally at a significantly lower frequency than that found in most organic molecules, meaning that it does not interfere with the other peaks and can be easily distinguished from them.

- It is cheap and non-toxic.

The large singlet which arises in proton nmr spectra at δ = 0 as a result of the TMS standard is usually erased from the spectra before it is produced (so you never see it).

5)	Using proton nmr spectra in structure determination

Proton nmr spectra are very useful for working out the structure of organic molecules, particularly if the molecular formula is known. The information from a spectrum can be broken down into four parts:

i)	the number of peaks

Each peak corresponds to one set of identical hydrogen atoms. The number of peaks therefore gives the number of types of hydrogen atom present.

In some molecules, all the hydrogen atoms are identical. These molecules give only one peak in the spectrum.

Eg ethane, propanone, methoxymethane

In some molecules, there are two types of hydrogen atom. These molecules will give two peaks in a proton nmr spectrum.

Eg butane, pentan-3-one, ethanal, methanol

Most molecules, however, give more than two peaks:

Butanone gives three peaks:

Butanal gives four peaks:			Ethanol gives three peaks:

Each of the H atoms within the same circle are identical and contribute towards the same peak.

Methylpropanal gives three peaks:

ii)	integration factor

The integration factor indicates the number of identical hydrogen atoms corresponding to that peak. Molecules which give the same number of peaks can be distinguished because the integration factor of each peak is different, corresponding to a different distribution of H atoms in the molecule.

Eg. Methylpropanal and butanone (C4H8O) both give three peaks in their proton nmr spectra:

However the integration factors of the three peaks in methylpropanal will be 6:1:1, but in butanone they will be 3:3:2. The two molecules can thus be distinguished by their proton nmr spectra because the integration factors of the peaks are different.

iii)	chemical shift

The chemical shift depends on the environment around the H atom; in particular it is related to the proximity of electronegative atoms. The nearer a hydrogen atom is to an electronegative atom, the more deshielded it will be and the greater the chemical shift.

For example, H atoms in alkanes tend to have low chemical shifts (δ= 0 - 2), but H atoms attached to O atoms in carboxylic acids tend to have high chemical shifts (= 10-12).

All H atoms not within one carbon atom of a functional group will have a chemical shift between 0 and 2 ppm.

The following table summarises the important chemical shifts for H atoms in common environments close to a functional group:

| environment | Type of molecule | Chemical shift/ppm |
| --- | --- | --- |
| H-C-C=O | carbonyl, caboxylic acid or ester | 2.1 – 3.0 |
| H-C-O | Alcohol, ester or ether | 3.3 – 4.3 |
| O-H | alcohol | 0.5 – 5.0 |
| H-C=C | alkene | 4.6 – 5.9 |
| H-C=O | aldehyde | 9 - 10 |
| O-H | carboxylic acid | 10 - 12 |

The chemical shift data provides useful information in deducing the environments responsible for a particular peak and identifying functional groups:

Consider the proton nmr spectra of two unknown compounds:

1.

The peak at δ = 9.7 suggests an H atom in an aldehyde group.

The peak at δ = 2.5 suggests H atoms on a C adjacent to a carbonyl group

The peak at δ = 1.1 suggests H atoms on a C not adjacent to a functional group

Integration factors (1 for δ = 9.7, 2 for δ = 2.5, 3 for δ = 1.1) would suggest propanal:

2.

The peak at δ = 3.6 suggests an H atom on a C adjacent to a C-O bond

The peak at δ = 2.3 suggests H atoms on a C adjacent to a carbonyl group, but as this is inconsistent with the structure it could also suggest an H atom bonded to O in an alcohol

The peak at δ = 1.6 suggests H atoms on a C not adjacent to a functional group

The peak at δ = 0.9 suggests H atoms on a C not adjacent to a functional group

Integration factors (2 for δ = 3.6, 1 for δ = 2.3, 2 for δ = 1.6 and 3 for δ = 0.9) would suggest propan-1-ol:

Chemical shift data is thus useful for identifying functional groups and for deducing the position of other H atoms on the molecule.

iv)	coupling

As was discussed earlier, the absorption of radiation by hydrogen atoms is affected by the presence of hydrogen atoms on adjacent carbon atoms (provided they are not involved in hydrogen bonding). These hydrogen atoms on adjacent carbon atoms cause a splitting of the peak according to the (n+1) rule as described earlier.

This is very useful for positioning the hydrogen atoms in different environments relative to each other.

Consider a CH3- group. This will account for a peak with integration factor 3.

The splitting of this peak, however, will depend on the hydrogen atoms on the adjacent carbon atom:

Here n = 2 so a triplet will be observed

or  		Here n = 1 so a doublet will be observed

or 	Here n = 0 so a singlet will be observed

Consider a -CH2- group. This will account for a peak with integration factor 2.

or	Here n = 2 so a triplet will be observed

or	Here n = 3 so a quartet will be observed

Thus the splitting of the peaks gives much useful information about the splitting patterns in the molecule.

Eg Consider the following proton nmr spectrum:

The peak at δ = 1.0 is a triplet (2 H atoms on adjacent carbons), with integration factor 3.

- this suggests that it is caused by a CH3- group adjacent to a -CH2- group

The peak at δ = 2.4 is a singlet (0 H atoms on adjacent carbons), with integration factor 3.

- this suggests that it is caused by a CH3- group attached to -O- or –C=O

- but if it were attached to -O- it would have a chemical shift of 3.3 – 4.0

- so it is probably caused by a CH3 group attached to –C=O

The peak at δ = 2.1 is a quartet (3 H atoms on adjacent carbons), with integration factor 2.

- 	this suggests that it is caused by a -CH2- group attached as CH3-CH2-C=O or

CH3-CH2-O-

- but if it were attached to -O- it would have a chemical shift of 3.3 – 4.0

- so it is probably caused by CH3-CH2-C=O

So the molecule is butanone:

Hydrogen bonded atoms do not contribute to coupling:

Eg consider the proton nmr spectrum of ethanol:

The peak at δ = 1.2 is a triplet, with integration factor 3. It is the –CH3 bonded to the -CH2-.

The peak at δ = 3.7 is a quartet. It is the –CH2- bonded to the –CH3. It does not couple with the H attached to the O, even though it is on an adjacent carbon atom, because this H atom is involved in hydrogen bonding.

The peak at δ = 2.7 is a singlet, with integration factor 1. It is the H bonded to the O. It does not couple with the two –CH2- hydrogen atoms because it is involved in hydrogen bonding.

Two important general points in particular should be noted:

- If a triplet with integration factor 3 and chemical shift 0 - 2 is present, as well as a quartet with integration factor 2, then CH3CH2- is almost certainly present

- Singlet peaks with integration factor 1 strongly suggest that an O-H bond is present

6)	Using carbon-13 nmr spectra in structure determination

Carbon-13 nmr spectra are also useful for working out the structure of organic molecules, particularly if the molecular formula is known. However they give less information about a molecule than proton nmr spectra.

i)	the number of peaks

Each peak corresponds to one set of identical carbon atoms. The number of peaks therefore gives the number of types of carbon atom present.

In some molecules, all the carbon atoms are identical. These molecules give only one peak in the spectrum.

Eg ethane, methoxymethane, cyclohexane, benzene

methoxymethane

Most organic molecules, however, give two or more peaks as at least some of the carbon atoms are not identical:

Propane and butane give two peaks. Pentane and hexane give three peaks.

Propene gives three peaks. But-2-ene gives two peaks. But-1-ene gives four peaks.

ii)	chemical shift

The chemical shift depends on the environment around the carbon atom; in particular it is related to the proximity of electronegative atoms. The nearer a carbon atom is to an electronegative atom, the more deshielded it will be and the greater the chemical shift.

For example, carbon atoms in alkanes tend to have low chemical shifts (δ = 0 - 40), but carbon atoms attached to O atoms with a double bond tend to have high chemical shifts (δ = 160 - 220).

All carbon atoms not directly attached a functional group (ie singly bonded to only carbon or hydrogen atoms) will have a chemical shift between 0 and 40 ppm). The nearer an electronegative atom, the higher the chemical shift

The following table summarises the important chemical shifts for H atoms in common environments close to a functional group:

| environment | Type of molecule | Chemical shift/ppm |
| --- | --- | --- |
| -C-O- | alcohol, ether, ester | 50 - 90 |
| -C=C- | alkene, arene | 90 - 150 |
| -C=O | carboxylic acid, ester | 160 - 190 |
| H-C=C | Aldehyde, ketone | 190 - 220 |

Eg consider the following carbon nmr spectrum of an alcohol with molecular formula C4H10O:

The spectrum gives three peaks, so there must be three different carbon atoms. As there are four carbon atoms in the molecule, two of them must be identical.

Of the possible isomers of C4H10O:

Butan-1-ol and butan-2-ol would give four peaks (all four C atoms are different)

Methylpropan-1-ol would give three peaks (two of the C atoms are identical)

Methylpropan-2-ol would give two peaks (three of the C atoms are identical)

The spectrum is therefore most likely to come from methylpropan-1-ol.

USING THE ANALYTICAL TECHNIQUES TOGETHER

If all the different spectra are available, then the most effective analytical strategy is to use them together. There are a number of useful steps to deducing the structure:

If composition data is available:

1.	Use the composition data to work out the empirical formula.

2.	Use the mass spectrum to deduce the relative molecular mass, and hence work out the molecular formula.

3.	Use the infra-red spectrum to check for the presence of C=O and O-H bonds, and hence identify the functional group.

4.	Using the integration factors and splitting patterns in the proton nmr spectra, identify pairs of hydrogen environments which are clearly linked to each other:

Eg a 3H triplet and a 2H quartet means CH3CH2-, two 2H doublets means

-CH2CH2- and a 3H triplet and a 2H doublet means CH3CH-.

5.	Use the chemical shifts to attach the correct functional group to each hydrogen environment.

A worked example of combined analysis is given below (no composition data available):

Use the following spectra to deduce the structure of A:

Mass spectrum:					Proton nmr spectrum:

Molecular ion peak = 88				three peaks:

δ = 1.3, triplet, integration factor 3

δ = 2.0, singlet, integration factor 3

δ = 4.1, quartet, integration factor 2

Infra-red spectrum: sharp absorption at 1715 cm-1, no broad absorptions between 1500 and 3500 cm-1

ANSWER:

From mass spectrum, rmm = 88

From infra-red spectrum, C=O present

From proton nmr spectrum, sum of integration factors = 8

So 8, 16 or 24 hydrogen atoms present and at least one oxygen

If one O atom present, remaining mass = 62 and cannot make this using 8/16/24 H atoms

If two O atoms present, remaining mass = 56; can make this from 4 carbons and H hydrogens

So likely molecular formula = C4H8O2.

From infra-red spectrum, no O-H is present, so it is not a carboxylic acid.

So is probably an ester.

Possible structures:

Methyl propanoate, ethyl ethanoate, propyl methanoate, methylethyl methanoate

From proton nmr spectrum:

There are 3 hydrogen environments so it cannot be propyl methanoate (which has 4).

The integration factors are 3:3:2 so cannot be methylethyl methanoate (which has the ratio 6:1:1).

The coupling (3H triplet, 2H quartet, 3H singlet) is consistent with both remaining possible structures.

But the 3H singlet has a chemical shift of 2.0, which is consistent with CH3CO and not CH3O (for which the chemical shift would be 3.3 – 4.0)

The 2H quartet has a chemical shift of 4.1, which is consistent with CH3CH2O and not CH3CH2CO (for which the chemical shift would be 2.0 – 2.5)

So it cannot by methyl propanoate and therefore the structure is ethyl ethanoate.

Full explanation of spectra:

Infra-red spectrum:

Proton nmr spectrum: